Updated on 12/02/2025

CSIR- Central Glass & Ceramic Research Institute

# Procurement Plan

[Financial Year 2025-26]

[A]   Equipment:

Table 1: Equipment for procurement during the FY 2025-26 and subsequent 3 – 5 years (under Non-project mode; out of CSIR Grant / Lab Grant):

| Financial Year 2025-2026 |  |  |  |  |
| --- | --- | --- | --- | --- |
| S. No. | Name of Equipment / Item | Quantity (Nos.) | Approximate Cost (Rs. in Lakhs) | Requisition given by |
| 1 | 4-station high-energy planetary milling machine; 4 grinding stations; To be used for 250/ 500 mL (4 nos.) zirconia pots, Floor model | 1 | 25.00 | Dr. Biswanath Kundu |
| 2 | FTIR with UATR with: Wavenumber minimum range 4000-400 cm-1; Resolution 0.5 cm-1 or better; 30000:1 or better peak-peak signal-to-noise for 1 min. scan; Wavelength accuracy 0.1 cm-1 or better at 3000 cm-1; Long-life source; Optimum optics, detector, beam splitter, desiccant and software; Diamond UATR accessory for direct sample measurement without KBr pallet making | 1 | 25.00 |  |
| 3 | Replenishment of gamma source of Gamma Chamber (GC-5000 unit) | 1 | 40.00 |  |
| 4 | Automatic sample grinding and polishing unit |  | 22.00 |  |
| 5 | Laptop | 1 | 1.00 |  |
| 6 | Cold Isostatic Press (CIP) | 1 | 250.00 |  |
| 7 | Upgradation of existing Hot Isostatic Press (HIP) including control panel, furnace chamber, software, pressure line and safety features | 1 | 200.00 |  |
| 8 | Digital Light Processing (DLP) or SLA based 3D printer for ceramic printing -Specification: (1) The 3D printer should be compatible with third party photocurable polymer resins with and without ceramic/glass powder loading; (2) Light source: High-resolution DLP projector with LED light at 385 nm or 405 nm or 450-460 nm wavelength or laser for SLA; (3) Build dimensions (XYZ): Minimum 50 mm X 30 mm X 120 mm; (3) |  |  | Dr. Mitun Das |
| 9 | Accessories to repair LENS system | 1 | 100.00 |  |
| 10 | Desktop PC for student’s sitting place at BCCD | 5 | 5.0 |  |
| 11 | High power ultrasonic probsonicator | 1 | 10.0 |  |
| 12 | Volumetric 3D Printer. | 1 | 25.00 | Dr. Subhadip Bodhak |
| 13. | Require a desktop PC of the latest version (WINDOWS 11 with compatible MS version) urgently as the present PC is outdated (windows 7) and limits day to day official working schedules | 1 | 1.00 | Dr. Jui Chakraborty |
| 14 | CNC Turning Machine | 1no. | 35.00 |  |
| 15 | GPS Furnace | 1no. | 200.00 |  |
| 16 | Controlled Atmosphere Vacuum Sintering Furnace 20000C (Graphite) for various Gases | 1no. | 220.00 |  |
| 17 | Vacuum Sintering Furnace 23000C | 1no. | 100.00 |  |
| 18 | Rotary Disc Electrode | 1no. | 25.00 |  |
| 19 | Tube Furnace | 1no. | 10.00 |  |
| 20 | Glove Box | 1no. | 15.00 |  |
| 21 | Vortex Shaker | 01 | 1.50 |  |
| 22 | Wireless Lapel Microphone System | 02 | 1.00 |  |
| 23 | Goose neck Microphone | 02 | 0.65 |  |
| 24 | Handheld wireless microphone | 02 | 1.50 |  |
| 25 | Omni-directional Boundary Layer Microphone | 03 | 1.30 |  |
| 26 | Instrument microphone | 01 | 0.50 |  |
| 27 | Condenser microphone | 01 | 0.12 |  |
| 28 | Projector | 02 | 4.20 |  |
| 29 | Amplifier | 02 | 2.80 |  |
| 30 | Mixer | 02 | 7.60 |  |
| 31 | LED Display panel 21 inch with touch-screen | 02 | 0.80 |  |
| 32 | LED Display panel 43 inch | 03 | 1.50 |  |
| 33 | LED Display Panel 65 inch | 04 | 3.20 |  |
| 34 | PTZ camera | 02 | 2.60 |  |
| 35 | Conference system for khurja | 01 | 3.20 |  |
| 36 | Mini conference system for our 02 no. conference rooms | 02 | 2.00 |  |
| 37 | Smart PPT switcher / CUE Commander | 02 | 1.90 |  |
| 38 | Monitor Speaker | 03 | 3.90 |  |
| 39 | Programmable temperature controller | 04 | 1.00 |  |
| 40 | Portable active coloumn speaker system | 02 | 3.00 |  |
| 41 | Video-Mixer | 02 | 2.60 |  |
| 42 | Software COMSOL 5.3 including wave optics module with 5 yrs license | 1 | 20.00 | FOPD |
| 43 | MATLAB Latest Version with Signal Processing, Image Processing, curve fitting etc. toolbox (perpetual License) | 1 | 10.00 |  |
| 44 | Femtosecond Auto-correlator for 1700 - 2200 nm wavelength range | 1 | 15.00 |  |
| 45 | Auto CAD version 2022 onwards 3 yrs license | 1 | 4.00 |  |
| 46 | Programmable DC power supply (5 – 8 kVA) | 2 | 10 .00 |  |
| 47 | Clean Room Calibration + AMC | 1 | 10.00 |  |
| 48 | Complete set of heating Furnace of Heathway fiber draw-tower | 1 | 50.00 |  |
| 49 | Waveform Generator with accessories such as High Voltage Amplifier and GPIB Interface Module | 1 | 10.00 |  |
| 50 | Vacuum Oven with two-stage Vacuum Pump | 1 | 15.00 |  |
| 51 | Electrochemical Workstation coupled with Potentiostat/ Galvanostat and EIS | 1 | 35.00 |  |
| 52 | LASX - Microscope Image analysis | 1 | 25.00 |  |
| 53 | Multifuctional Color Laser Printer | 1 | 1.00 |  |
| 54 | High Resolution Field Emission Scanning Electron Microscope (FESEM) | 1 | 600.00 |  |
| 55 | Particle Size Analyzer Liquid mode Based on laser diffraction 0.1-500 micron Along with instrument software and Indian accessories such as PC, Printer, Standards for calibration | 01 | 60.00 |  |
| 56 | CCTV System with 24 Cameras and other accessories | 01 | 08.00 |  |
| 57 | Desktop computer (i7 11/12th Generation) with monitor, mouse and keyboard | 05 | 08.00 |  |
| 58 | Solar Panel of 50 KW with sprinkler system, instalment and other accessories | 01 | 35.00 |  |
| 59 | Universal Gauge as per IS 13630 and ISO 10545, 1200X1200 mm size tiles with standard calibration plates, computer, printer and software | 01 | 21.00 |  |
| 60 | Energy Dispersive X-ray Fluorescence (EDXRF) Spectrometer | 1 | 80.00 |  |

| Next 3-5 Years |  |  |  |  |
| --- | --- | --- | --- | --- |
| S. No. | Name of Equipment / Item | Quantity (Nos.) | Approximate Cost (Rs. in Lakhs) | Requisition given by |
| 1 | Hip joint simulator with advanced features; 6-station together mimicking body environment, load and physiological condition; actual implant-stem combination; facility of volumetric wear calculation, fatigue, displacement; temperature controller and soaking liquid level automatic sensor; facility of various loading profile as per ISO (for level walking, staircase movements, running, etc.); Options for suitable fixture for dental implants | 1 | 250.00 | Dr. B. Kundu |
| 2 | 6-axis CNC grinding and polishing machine for ceramic hip and knee implants; 6 CNC axis for grinding and polishing of complex shapes; programmable pressure; reproducible and repeatable material removal; Advanced controller with integrated operator panel; Solid continuous one-piece machine; Robust belt drive; Capable to achieve < 30 nm Ra of ceramic hip and knee implants after grinding and polishing. | 1 | 400.00 |  |
| 3 | Selective Laser Sintering (SLS) machine suitable for ceramic processing with following tentative spec; Laser and Scanning: 100 watt CO2 laser; Additional laser source with 500 W output; Physical maximum build envelope: Approx. W 380 x D 330 x H 450 mm (± 10%); Input data file format: *.STL; CAD/CAM module: 3D shop having capability of typical standard Read/Write formats like IGES, STEP, VRML, STL, B-Rep etc. | 1 | 400.00 |  |
| 4 | PE-CVD | 1no. | 200.00 |  |
| 5 | Rapid Thermal Annealing | 1no. | 200.00 |  |
| 6 | Magnetron Sputtering | 1no. | 110.00 |  |
| 7 | Bench Top Solution Blowing System | 1no. | 20.00 |  |
| 8 | Controlled Atmosphere High Temperature UTM | 1no. | 0.85 |  |
| 9 | Cold Isostatic Press | 1no. | 1000.00 |  |
| 10 | Atomic Force Microscopy | 1no. | 60.00 |  |
| 11 | Spectrofluorometer | 1no. | 200.00 |  |
| 12 | Vacuum Hot Press 50mm dia. | 1no. | 30.00 |  |
| 13 | Low speed precision cutter | 01 | 10.00 |  |
| 14 | Multi-product electrical calibrator | 01 | 30.00 |  |
| 15 | Up-gradation of audio system in Meghnad Saha Auditorium | 01 | 20.00 |  |
| 16 | Computers | 70 | 67.00 |  |
| 17 | Switches (Core, Distribution) | 4 + 20 | 80.00 |  |
| 18 | Servers | 4 | 30.00 |  |
| 19 | Firewall | 1 | 15.00 |  |
| 20 | UPS | 2 | 20.00 |  |
| 21 | Modular Steady-state and time resolved Phosphorescence and Fluorescence Lifetime Spectrometer (TCSPC) | 1 | 190.0 | FOPD |
| 22 | Strain measurement system of optical fiber (Model No: SPL 500-3-18596) | 1 | 190.0 |  |
| 23 | Tuneable Laser Source | 1 | 60.0 |  |
| 23 | Micro-pore Analyzer with Turbo-molecular pumping System and Vacuum Degasser | 1 | 50.00 |  |
| 24 | High Resolution X-Ray Diffractometer: Specifications: High Resolution XRD for powder and Thin Film analysis using Bragg-Brentano and parallel Beam geometry. | 1 | 165.00 |  |
| 25 | Wavelength Dispersive X-Ray Fluorescence Spectrometer (WD-XRF) | 1 | 290.00 |  |
| 26 | Roller hearth furnace, length 21 feet, working temperature 1250, max temp 1300, useful volume - 250 (w) X 50 (H) X 2000 (L) mm, | 01 | 20.00 |  |
| 27 | UPS for 12 Nos. of PC's of CGCRI, Naroda Centre | 12 | 0.90 |  |
| 28 | 4k Ultra HD 43-inch smart LED TV, for committee room | 02 | 1.00 |  |
| 29 | 4k Ultra HD 65-inch smart LED TV, for committee room | 01 | 1.50 |  |
| 30 | CCS machine of 5000 Tons capacity, with computer and necessary software | 01 | 18.00 |  |
| 31 | Split Air Conditioner, 2.0 Ton, 5 Star Rating, Inverter type, Total no. 05 ICP, FTIR, chemical lab and Characterization Lab | 08 | 6.4 |  |
| 32 | PL Spectrometer (200 nm - 870 nm) | 01 | 110.00 |  |
| 33 | Dryer - size 1 mtr x 1 mtr x 2 mtr (inner useful space), temperature max - 250 deg C, stainless steel construction, heavy duty suitable for heating tiles. Including six numbers of SS trays | 01 | 3.00 |  |
| 34 | MUFFLE CUM TUBE FURNACE with working temperature 1600 °C and size approx. 200 mmX200 mmX200 mm with MFC and accessories | 01 | 11.00 |  |
| 35 | Laptop (i7)-Windows 11 (12th generation), For Dr. Asha anil and use in Committee room and external training program presentations | 02 | 2.40 |  |

Table 2: Equipment for procurement during the FY 2025-26 and Next 3-5 years under CSIR-Funded Projects (CSIR Project Mode):

| Financial Year 2025-2026 |  |  |  |  |
| --- | --- | --- | --- | --- |
| S. No. | Name of Equipment / Item | Quantity (Nos.) | Approximate Cost (Rs. in Lakhs) | Project Number/Code |
| 1 | Spectral-domain OCT spectrometer | 1 | 35.00 | FTT0080505 |
| 2 | Roll-to-Roll Electrode Fabrication unit | 1 | 25.00 | HCP0054 (W27.1) |
| 3 | Manual Electrode Winding Machine | 1 | 25.00 | HCP0054 (W27.1) |
| 4 | RO water purification system capacity- 25 ltr per hour for office use & Chemical Lab. | 02 | 1.6 | NWP – 100 / HCP 0054/ TSP 0008 |
| 5 | Multifunction Colour Printer technology: Laser Features: Print, Scan, Copy Paper type supported: ‎A4, Letter, A5, A6, Executive, Legal , Interface: Wifi+USB Mounting Hardware: ‎Printer, Power Cable, USB Cable Toner/cartridge included: Yes Operating System: Windows | 01 | 0.7 | NWP – 100 / HCP 0054/ TSP 0008 |
| 6 | Multifunction monochrome Printer technology: Laser Features: Print, Scan, Copy Paper type supported: ‎A4, Letter, A5, A6, Executive, Legal , Interface: Wifi+USB Mounting Hardware: ‎Printer, Power Cable, USB Cable Toner/cartridge included: Yes Operating System: Windows | 01 | 0.5 | NWP – 100 / HCP 0054/ TSP 0008 |
| 7 | Digital vernier calliper 150 mm | 02 | 0.4 | NWP – 100 / HCP 0054/ TSP 0008 |
| 8 | Digital vernier calliper 300 mm | 01 | 0.85 | NWP – 100 / HCP 0054/ TSP 0008 |
| 9 | Digital vernier calliper 600 mm | 01 | 0.70 | NWP – 100 / HCP 0054/ TSP 0008 |
| 10 | Digital Optical Pyrometer | 01 | 2.75 | NWP – 100 / HCP 0054/ TSP 0008 |
| 11 | Electric Induction Heater | 01 | 0.4 | NWP – 100 / HCP 0054/ TSP 0008 |
| 12 | Stainless steel Tong |  | 0.1 | NWP – 100 / HCP 0054/ TSP 0008 |
| 13 | Stainless steel Dies |  | 0.9 | NWP – 100 / HCP 0054/ TSP 0008 |
| 14 | Ultrasonic Bath/cleaner with heater and timer | 01 | 01 | NWP – 100 / HCP 0054/ TSP 0008 |
| 15 | Audio system 80 -watt capacity, portable wireless blue tooth speaker, with 2 cordless mic. | 01 | 0.7 | NWP – 100 / HCP 0054/ TSP 0008 |
| 16 | Hand Pellet truck 550x 600 mm size | 01 | 0.3 | NWP – 100 / HCP 0054/ TSP 0008 |
| 17 | Industrial Folding Ladder for servicing and maintenance work, working at height, such as repairing of tube lights, ceiling fans | 01 | 0.25 | NWP – 100 / HCP 0054/ TSP 0008 |
| 18 | Certificate Lamination machine | 01 | 0.4 | NWP – 100 / HCP 0054/ TSP 0008 |
| 19 | High intensity Electromagnet | 01 | 2.5 | NWP – 100 / HCP 0054/ TSP 0008 |

| Next 3-5 Years |  |  |  |  |
| --- | --- | --- | --- | --- |
| S. No. | Name of Equipment / Item | Quantity (Nos.) | Approximate Cost (Rs. in Lakhs) | Project Number/Code |
|  | -- | -- | -- | -- |

Table 3: Equipment for procurement during the FY 2025-26 and Next 3-5 years under Externally Funded Projects (EFP):

| Financial Year 2025-2026 |  |  |  |  |
| --- | --- | --- | --- | --- |
| S. No. | Name of Equipment / Item | Quantity (Nos.) | Approximate Cost (Rs. in Lakhs) | Project Number |
| 1 | pH meter | 1 | 1.00 |  |
| 2 | Precision weighing balance | 2 | 1.50 |  |
| 3 | High power ultrasonic probsonicator | 1 | 10.00 |  |
| 4 | Digimat-Am Hexagon software | 1 | 40.00 | GAP0277 |
| 5 | Desktop Computer for project staff | 1 | 1.00 |  |
| 6 | Desktop Workstation | 1 | 3.50 |  |
| 7 | Mixer Mill | 1no. | 34.00 | GAP0276 |
| 8 | Digital Vernier Callipers | 1no. | 0.50 |  |
| 9 | All in One Printer | 1no. | 0.32 |  |
| 10 | Fibre Drawing Set-Up | 1no. | 1.00 | GAP0280 |
| 11 | Vacuum Filtration System | 1no. | 1.10 |  |
| 12 | Single mode diode mount, TEC, Driver | 15 | 10.00 | GAP0186 |
| 13 | Glass processing unit | 1 | 300 .00 |  |
| 14 | De humidifier | 2 | 1 .00 |  |
| 15 | Mechanical diode mount, heat sink etc. | 15 | 3 .00 |  |
| 16 | Fiber heat sink with custom design | 2 | 2 .00 |  |
| 17 | Visible range spectrometer | 1 | 5 .00 |  |
| 18 | Process Chiller (40 - 50 LPM, > 10 kW, I/P Load 4 - 10 kW) | 1 | 6 .00 |  |
| 19 | 10 kVA UPS (Industrial Grade) | 1 | 2 .00 |  |
| 20 | Real Time Spectrum Analyser (0.2 to maximum 0.5 GHz) for narrow-linewidth laser characterization | 1 | 15 .00 |  |
| 21 | Optical Power Meter | 2 | 5 .00 | GAP0183 |
| 22 | FBG Interrogator | 2 | 40 .00 |  |
| 23 | FPGA Development Platform | 1 | 12 .00 |  |
| 24 | Digital Storage Oscilloscope | 1 | 10 .00 |  |
| 25 | Splicing Machine | 2 | 7 .00 |  |
| 26 | Signal Generator | 2 | 5 .00 |  |
| 27 | Regulated Power Supply | 2 | 3 .00 |  |
| 28 | Optical Spectrum Analyser | 1 | 60 .00 |  |
| 29 | Spectrum Analyser | 1 | 5 .00 |  |
| 30 | Spectrometer | 1 | 14 .00 |  |
| 31 | Light Source | 1 | 2 .00 |  |
| 32 | Bath Sonicator | 1 | 1.50 |  |
| 33 | Probe Sonicator | 1 | 2.50 |  |
| 34 | Sputter Coater | 1 | 16 .00 |  |
| 35 | Optical Microscope | 1 | 12 .00 |  |
| 36 | Syringe Infusion Pump | 2 | 9 .00 |  |
| 37 | Air Compressor | 1 | 2 .00 |  |
| 38 | Thermal Camera | 1 | 1 .00 |  |
| 39 | UPS | 4 | 1.50 |  |
| 40 | Monitor | 6 | 1.50 |  |
| 41 | Desktop computer | 6 | 4.50 |  |
| 42 | Workstation | 2 | 6 .00 |  |
| 43 | Laptop Computer | 4 | 3.20 |  |
| 44 | Machine Vision Camera | 1 | 6 .00 |  |
| 45 | Printer – colour and b/w | 4 | 1.70 |  |
| 46 | Advanced Optical Fiber Clever | 1 | 1 .00 |  |
| 47 | Strain gauge calibration system with tensile, compressive, and flexural | 1 | 70.00 |  |
| 48 | High power narrow bandwidth LASER for distributed sensing along with driver module (Tuneable DFB laser diode with driver module) | 1 | 23 .00 |  |
| 49 | Narrow line width single frequency optical source | 1 | 16 .00 |  |

| Next 3-5 Years |  |  |  |  |
| --- | --- | --- | --- | --- |
| S. No. | Name of Equipment / Item | Quantity (Nos.) | Approximate Cost (Rs. in Lakhs) | Project Number |
| 1 | Upgradation of existing MCVD-VPCD system | 1 | 380 | Projects Under consideration /submitted |
| 2. | Outside Plasma Deposition System | 1 | 1215 |  |
| 3. | Upgradation of fiber drawing tower (Control Panel) | 1 | 350 |  |
| 4. | Glass processing unit for fiber combiner making. | 1 | 290 |  |
| 5. | Fiber Analyser | 1 | 230 |  |
| 6. | Preform Analyzer | 1 | 250 |  |
| 7. | Large diameter clever and splicer | 2 | 65.0 |  |
| 8. | 1000 class clean room facility | 1 | 200 |  |
| 9. | OPO crystals and components | 3 | 50.00 |  |
| 10. | Real time storage oscilloscope | 1 | 100.00 |  |
| 11. | Rubidium Clock | 1 | 25.00 |  |
| 12. | IFA-100 fiberanalyzer | 1 | 50.00 |  |
| 13. | Soft glass processing unit | 1 | 300.00 |  |
| 14. | Soft glass fiber drawing tower | 1 | 900.00 |  |
| 15. | Desktop computer | 3 | 3.00 |  |
| 16. | Printer – colour and b/w | 2 | 0.50 |  |
| 17. | UPS | 5 | 0.25 |  |
| 18. | Optical Intensity, Phase, Frequency Modulator Drivers | 1 | 10.0 |  |
| 19. | High frequency RF synthesizers | 1 | 100.0 |  |
| 20. | PRBS Generator | 1 | 50.0 |  |
| 21. | Scanning spectrometer ranging for sub-millimeter to millimeter wave | 1 | 100.0 |  |
| 22. | Temperature controlled oven for nonlinear crystal housing | 1 | 10.0 |  |
| 23. | Low noise RF amplifier | 1 | 100.0 |  |
| 24. | 100 - 300 GHz RF Source | 1 | 200.0 |  |
| 25. | Photo Multi-plier Tubes | 2 | 5.0 |  |
| 26. | Single pixel detectors in NIR region | 2 | 5.0 |  |
| 27. | Electrical driver & controller for high power laser module | 2 | 10.0 |  |
| 28. | IR Viewer range: 350 nm - 2000 nm | 1 | 5.0 |  |
| 29. | Femtosecond laser with output avg. power upto 5W | 1 | 65.0 |  |
| 30. | Optical spectrum analyzer for mid-IR spectral domain | 1 | 130.0 |  |
| 31 | Optical Spectrum Analyser | 1 | 60.0 | GAP0183 |
| 32 | Raman spectrometer | 1 | 25.0 |  |
| 33 | UPS | 10 | 5.0 |  |
| 34 | Monitor | 10 | 2.5 |  |
| 35 | Desktop computer | 10 | 6.0 |  |
| 36 | Workstation | 3 | 10.0 |  |
| 37 | Laptop Computer | 10 | 8.0 |  |
| 38 | 3D Printer | 1 | 11.0 |  |
| 39 | Solidworks | 1 | 5.00 |  |
| 40 | Autocad | 1 | 1.00 |  |
| 41 | Labview | 1 | 5.00 |  |
| 42 | Working tables (Vibration isolation type and standard and granite top) | 7 | 15.00 |  |
| 43 | Wavelength Monitoring systems (high precision) | 2 | 40.00 |  |
| 44 | Wavelength monitoring system custom built | 3 | 24.00 |  |
| 45 | Climate Chamber | 2 | 13.00 |  |
| 46 | Oven | 2 | 5.00 |  |
| 47 | Oven | 1 | 25.00 |  |
| 48 | Controller for calibration setup: | 1 | 6.00 |  |
| 49 | DAQ(PXI) | 1 | 20.00 |  |
| 50 | Custom built Fixtures with motorized translation stages for sensor calibration | 1 | 20.00 |  |
| 51 | Reference piezo pressure sensors | 2 | 2.00 |  |
| 52 | Thermocouple calibrator | 1 | 15.00 |  |
| 53 | Sine Table (0⁰ -45⁰) | 2 | 1.00 |  |
| 54 | Universal data logger | 3 | 16.50 |  |
| 55 | Test beds for SHM sensor evaluation |  | 45.00 |  |
| 56 | FBG inscription system Custom built with Femto-second IR Laser | 1 | 350.00 |  |
| 58 | Bench-top Materials Printer | 1 | 80.00 |  |
| 59 | Dew pointmeter | 1 | 4.00 |  |
| 60 | Furnace | 1 | 20.00 |  |
| 61 | Dip Coater | 1 | 3.00 |  |
| 62 | Screen printer | 1 | 4.00 |  |
| 63 | Arbitrary function generator | 2 | 9.00 |  |
| 64 | Support facilities for equipment installation e.g. Chiller plant, power supply distribution including UPS, Compressor, Equipment platforms, Dust protection enclosures, clean room etc. |  | 120.00 |  |
| 65 | Standard Sensors and data logger for field trials in buildings, bridges as reference |  | 65.00 |  |
| 66 | Standard Sensors and data logger for field trials in Mines as reference |  | 30.00 |  |

Updated on 12/02/2025

CSIR- Central Glass & Ceramic Research Institute

# Procurement Plan

[Financial Year 2025-26]

[B]   Consumables:

The following categories of consumables are likely to be procured during the FY 2025-26.

Table 3: Consumables likely to be procured during Financial Year 2025-26 (Annual):

| S. No. | Category | Expected Procurement Value (Rs. In Lakhs) |
| --- | --- | --- |
| 1 | Chemicals (ex.- Name the different chemicals like Solvents, Biochemical/s, Biochemical kits & enzymes, Diagnostic kits, Sequencing, Oligonucleotides, etc.) | 163.80 |
| 2 | Other Consumables (ex- Insecticide, Raw Materials, Packing Material, Column, Syringes, Transcriptome and Metagenome Analysis, Metabolites analyses, Farm Consumables, TLC Plates, Filter papers, Planting materials, seeds, Chemical standards, Essential oils, Standard aroma molecules, Animal feed, Cell Lines, Agriculture accessories, etc.) | 819.80 |
| 3 | Glass wares (ex- name the different glass wares) | 94.00 |
| 4 | Plastic wares (ex- Name the different plastic wares) | 21.85 |
| 5 | Cartridges, Batteries, etc. | 27.25 |
| 6 | Gases (ex- tentative names) | 204.85 |
| 8 | Maintenance/AMC/repairing of existing equipment | 177.30 |
| 9 | Stationary items (ex- name a few) | 11.80 |
| 10 | IT / software-related Items (Name the items required during year) | 104.50 |
| 11 | Furniture (Name the items required during year) | 5.70 |
| 13 | Electric Items (Name the items required during year) | 17.00 |

Detailed list of the consumables planned for procurement for division(s) is attached as per Annexure-A below:

Annexure-A

Table-1

| Sr. No | Category | Expected procurement value (Rs. in Lakhs) |
| --- | --- | --- |
|  | Chemicals: - - Silicon Tetrachloride (SiCl4) Purity: 99.9999% i.e; 6N Grade - Germanium Tetrachloride (GeCl4) Purity: 99.9999% i.e 6N Grade - Poshphorous Oxychloride (POCl3) Purity: 99.9999% i.e 6N Grade. - Ytterbium (III) Tetramethyl heptanedionate [Yb(thd)3] Purity: 99.999% i.e 5N Grade or better. - Cerium (IV) Tetramethylheptanedionate [Ce(thd)4] Purity: 99.999% i.e 5N Grade or better. - Thulium (III) Tetramethylheptanedionate [Tm(thd)3] Purity: 99.999% i.e 5N Grade or better. - Holmium Tetramethylheptanedionate [Ho(thd)3] Purity: 99.999% i.e 5N Grade or better. - Acetone - Isopropyl Alcohol - Ethanol - Low RI resin PC-375LAP along with normal primary & secondary coating (LS-2211, LS 3211 & LP-1635) | 50.0 40.0 50.0 |
| 2. | Other R & D consumables: - - Pump diodes, Isolators, combiner, FBG, water cooled heat sink, Specialty Fibers (ex. Component fiber, photosensitive fiber,pump fiber etc.) related to standard 2.0 kW high power laser test bed system - Phase mask and optical components for FBG writing system - Stainless steel bubbler of chelate delivery system - MFC’s related to the GCM of MCVD system - Optical Components (Mirrors, Lenses, Objectives, Gratings, Non-Linear Crystals, Combiners, etc) - Laser Pump Diodes (Wavelength Stabilised and Non-Stabilised) - Opto-mechanical Components (Stands, Holders, Transitional stage, Isolation Stage, Cleaving Blades, Holders and Filaments for Glass Processing Unit, etc) - Optical Gain Fibers (Active Fibers) - Coolant - Optical mounts, bulk optics, fixtures, mirrors, beam routing/focusing assembly - Optical Intensity, Phase, Frequency Modulator - SM Pump diodes (in the range of 300 - 1000 mW) TEC cooled 14 pin butter fly - Dispersion managing fibers - Highly nonlinear fibers - PM and Non-PM Active Fibers - Pulse compression gratings - Fibre Optic Phase Shifter - Analyses of dopants distribution along the core of fiber by EPMA - Grinding and Polishing of circular preform into octagonal shaped structure by automatic grinding and polishing machine - Spare parts of Fibre drawing Tower - UI Display Board for Packaging - FBG Interrogation Module - Spectral Analyser module - Signal Analyser module - Optical Tunable Filter - Optical Image Sensor - Signal Processing Board - Data Processing Board - Optical Filter - Fiber Optic Circulator - Fiber Optic Isolator - Fiber Optic Power Sensor - Light Source module - FPGA/Microcontroller based development board - Fiber Polishng Supplies - Fiber Optic Interferometer module | 170.0 85.0 15.0 25.0 60.0 120.0 40.00 55.00 2.00 10.00 10.00 20.00 2.00 2.00 2.00 20.00 6.00 5.00 25.00 30.00 5.00 25.00 5.00 4.00 10.00 5.00 5.00 3.00 3.00 5.00 3.00 5.00 5.00 2.00 2.50 17.00 |
| 3. | Glass wares (Ex. Name the glass wares): - Silica Tubes (20/17mm, 20/12mm and 10/4mm) - Fluorine-Doped Fused Silica Capillary Tube, 750 μm ID, 1500 μm OD, 170 mm Long Model: FTB02 | 80.0 0 10.00 |
| 4. | Plastic wares (Ex. Name the different plastic wares): - Millipore filter, Gaskets, O-rings etc for of MCVD-VPCD system | 20.00 |
| 5. | - Toner Cartridges - Batteries ( UPS Batteries replacement) | 10.00 5.00 |
| 6. | Gases (Ex. Tentative names): For specialty optical fiber’s development and combiner making: - - High purity gases such as: Commercial H2 (99.5%) and O2 (99.97%) fuel gases - High purity nitrogen gases of 99.999% - High purity (99.999%) He and Argon inert gases - Very high purity (99.9995%) He gas - Very high purity (99.9995%) O2 gases - Very high purity (99.999%) SiF4 gases - Very high purity (99.999%) CF4 gases - Very high purity (99.999%) Cl2 gas | 200.00 |
| 7. | Maintenance/AMC/Repairing existing equipment: - Maintenance/Repairing job related to upgradation of existing MCVD-VPCD system, the OPD system and upgradation of fiber drawing tower through making of all kind of gas lines, suction hoods, scrubber etc. - AMC of UPS connected to MCVD-VPCD system, old MCVD system etc. - Water Line and Gas Line - Servicing of high temperature tubular furnace | 70.00 15.00 3.00 0.40 |
| 8. | Stationary items: - Note book, File cover, file board, Sticky note, Papers Eraser, Marker, stapler, punching machine, Tape, scissors etc | 10.00 |
| 9. | IT/Software related items (Name the items required during year) | 0.00 |
| 10. | Furniture (Name the items required during year) | 0.00 |
| 11. | Electric items (Name the items required during year):- 3-phase line for chiller, high VA SMPS, LD driver (total 15 - 20 kW load | 5.00 |

Table-2

| S. No. | Category | Expected Procurement Value (Rs. In Lakhs) |
| --- | --- | --- |
| 1 | Chemicals -- Chemicals & Solvents like Iso-propyl alcohol, Acetone, Dimethyl formamide (DMF), N-Methyl pyrrolidone (NMP), Propylene Carbonate (PC), Nitric acid, Hydrochloric acid, etc., epoxy Resins, etc. regularly require for undertaking the mechanical testing jobs. | 5.00 |
| 2 | Other Consumables - Machine grease, Vacuum grease, Vac. Pump oil, Filter paper, Diamond cutting wheel, High-speed Hacksaw blades, Emary papers, etc. | 3.00 |
| 3 | Glass wares - Glass Beakers of diff capacity, Measuring cylinders, Filtering flasks, Glass desiccators with base (6 & 8 inch), etc. | 1.00 |
| 4 | Plastic wares - | Nil |
| 5 | Cartridges, Batteries, etc. Printer cartridges/toners for existing printer, replacement of faulty Batteries for UPS | 1.50 |
| 6 | Gases (ex- tentative names) N2 gas (refillable), | 0.35 |
| 7 | Maintenance/AMC/repairing of existing equipment - Repair of existing 10 KVA UPS - AMC for Online UPS (attached with UTM instrument) - Repair of existing i-Nano NanoIndentation Instrument | 15.00 |
| 8 | Stationary items (ex- name a few) | 0.10 |
| 9 | IT / software-related - - LASX - Microscope Image analysis Software | 25.00 |
| 10 | Furniture (Name the items required during year) | Nil |
| 11 | Electric Items (Name the items required during year) | Nil |